**Data management**

**Air Monitors Mini-Logger**

***Description:***

For those who don’t need to connect many different sensors or monitors, the Mini Logger packs most of the features of the Web Logger in a smaller cheaper package.

***Specification:***

Compatible with the following sensors;

* COZIR (CO2 Monitor)
* Lufft WS Series (Met Sensors)
* Palas FIDAS 200 (PM Monitor)
* 2BTech 106 (Ozone Monitor)
* Naneos Partector (UltraFine Particle Monitor)