**Meteorological systems**

**Lufft WS200 smart weather station**

***Description:***

From the WS product family of professional intelligent measurement transducers with digital interface for environmental applications for measuring wind direction and speed. One external temperature or rain sensor is connectable.

***Specification:***

 Parameters measured: Wind direction and speed

 Measurement technology: Ultrasonic/Wind

 Product highlights: Compact all-in-one weather sensor, low power, heater, maintenance-free operation, open communication protocol

 Interfaces: RS485 with supported protocols UMB-Binary, UMB-ASCII, Modbus-RTU, Modbus-ASCII, XDR and optional SDI-12