**Meteorological systems**

**All-in-One Handheld Device XA1000**

***Description:***

All-rounder" in the handheld measurement technology segment. A universal measuring device for professionals with the inclusion of exchangeable SDI Sensors. Highly precise measurements of temperature and relative humidity. Integrated air pressure sensor, online/offline data recording. Equipped with test certificate, can be calibrated. Scope of delivery includes transport case.

***Specification:***

 Parameters measured: Integrated sensor for air pressure, exchangeable sensors for highly  
 precise measurements of temperature, relative humidity and air flow

 Measurement technology: Various - thus exchangeable sensors

 Product highlights: Precise and flexible all-rounder handheld instrument, easy to handle  
 and robust, sensor connection with automatic recognition, saves measuring campaigns,  
 allows all climate data to be calculated and archived, evaluation software SmartGraph3   
 included

 Interfaces: USB (Cable and SmartGraph3 software included)