**Meteorological systems**

**Hand-held measuring device XP201 for reference humidity**

***Description:***

High-precision reference measurement standard for industrial humidity calibrations. Suitable as humidity reference in climate chambers or humidity generators. Mini USB interface with software, online data collection.

***Specification:***

 Parameters measured: Relative humidity, temperature and air pressure

 Measurement technology: resistive-electrolytic / Humidity

 Product highlights: Excellent accuracy of temperature and relative humidity. Display of
 calculations and statistical functions.

 Interfaces: USB (Cable and SmartGraph3 software included)